## Slide 1
Bioinformatics | Drug Informatics | Chemoinformatics | Vaccine Informatics
Email: raghava@imtech.res.in http://crdd.osdd.net/
http://www.imtech.res.in/raghava/
Recent Trends in Computational Proteomics
Dr G P S Raghava
Institute of Microbial Technology, Chandigarh, India

## Slide 2: Studying Central Dogma with “Omis”
Mature mRNA
Protein
DNA
mRNA
Proteomics
Transcriptomics
Genomics
Metabolomics
(all the endogenous metabolites produced)

## Slide 3
Complexity of the system

## Slide 4
NEXT GENERATION SEQUENCING
Roche’s 454 FLX
Ion torrent
Illumina
ABI’s Solid
Sequence full genome of an organism in a few days at a very low cost.
Produce high throughput data in form of short reads.

## Slide 7: Genome assembly and annotation done at IMTECH
Burkholderia sp. SJ98 (Kumar et al. 2012).
Debaryomyces hansenii MTCC 234 (Kumar et al. 2012).
Imtechella halotolerans K1T (Kumar et al. 2012).
Marinilabilia salmonicolor JCM 21150T (Kumar et al. 2012).
Rhodococcus imtechensis sp. RKJ300 (Vikram et al. 2012).
Rhodosporidium toruloides MTCC 457 (Kumar et al. 2012).

## Slide 8: RNA sequencing
Condition
(colon tumor)
Isolate RNAs
Sequence ends
100s of millions of paired reads
10s of billions bases of sequence
Generate cDNA, fragment, size select, add linkers
Samples of interest
Map to genome, transcriptome, and predicted exon junctions
Downstream analysis
RNA-Seq is a recently developed approach to transcriptome profiling that uses deep-sequencing technologies to measure levels of transcripts and their isoforms.

## Slide 9: Methods for Protein Analysis
Gel electrophoresis, northern/western blot (fluorescence/radio active label)
Protein microarrays
Mass Spectrometry
X-ray crystallography

## Slide 10: Protein arrays
High throughput analysis of hundreds of thousands of proteins.
Proteins are immobilized on glass chip.
Various probes (protein, lipids, DNA, peptides, etc) are used.
Require a priori knowledge of the proteins of interest.
Availability of suitable antibodies.
Measure only a small fraction of the proteome
Cons

## Slide 11: Mass Spectrometry
Find a way to “charge” an atom or molecule (ionization).
Place charged atom or molecule in a magnetic field or electric field and measure its speed or radius of curvature relative to its mass-to-charge ratio (mass analyzer).
Detect ions using microchannel plate or photomultiplier tube(Detection).
Ion source: makes ions
Mass analyzer: separates ions
Mass spectrum Presents
information
Sample

## Slide 12
Protein Identification by MS
Theoretical
spectra built
Artificially trypsinated
Database of sequences
(i.e. SwissProt)
Spot removed
from gel
Fragmented using trypsin
Spectrum of fragments generated
MATCH
Library
Experimental spectra

## Slide 13: Instrumentation
Inlet
Ion
Source
Mass
Analyzer
Detector
Data
System
High Vacuum System
MALDI
ESI
Time of flight (TOF)
Quadrupole
Ion Trap
Magnetic Sector
FTMS
Microchannel Plate
Electron Multiplier
Hybrid with photomultiplier
HPLC
Flow injection
Sample plate

## Slide 14
Electrospray ionization
Ion Sources make ions from sample molecules (Ions are easier to detect than neutral molecules.)
MH+
+/- 20 kV
Grid (0 V)
Sample plate
Laser
High voltage applied
to metal sheath (~4 kV)
Sample Inlet Nozzle
(Lower Voltage)
Charged droplets
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
MH+
MH3+
MH2+
Pressure = 1 atm Inner tube diam. = 100 um
Sample in solution
N2
N2 gas
Partial vacuum
MALDI

## Slide 15
Operate under high vacuum (keeps ions from bumping into gas molecules)
Actually measure mass-to-charge ratio of ions (m/z)
Key specifications are resolution, mass measurement accuracy, and sensitivity.
Several kinds exist: for bioanalysis, quadrupole, time-of-flight and ion traps are most used.
Mass analyzers separate ions based on their
mass-to-charge ratio (m/z)

## Slide 16: Tandem Mass Spectrometry
LC
MS
MS/MS
Ion
Source
MS-1
collision
cell
MS-2
Parent
Ions
Fragment
Ions

## Slide 17: What’s in a Mass Spectrum?
Ion Abundance (as a %of Base peak)
Mass, as m/z. Z is the charge, and for doubly charged ions (often seen in macromolecules), masses show up at half their proper value
High mass
“molecular ion”
Fragment Ions
Derived from molecular ion or higher weight fragments
In molecular ions, adduct ions, [M+reagent gas]+
Notes: he term “adduct ion” is a popular term among liquid chromatography/mass spectrometry (LC/MS) users to describe ions formed by adduction of alkali metal ions to an analyte molecule in positive ion analysis. However, the well-informed user should be aware that “adduct ion” correctly refers to any ion formed by adduction of an ionic species to a molecule. Therefore, the common protonated molecule or [M+H]+ is also properly called an adduct ion. In our column this month we will be discussing specifically the adduction of alkali metal ions (Na, K), to analyte molecules and will therefore use the term “metal adduct ion” to refer to these species.

## Slide 18: Peptide Fragmentation
Peptides tend to fragment along the backbone.
Fragments can also loose neutral chemical groups like NH3 and H2O.
H...-HN-CH-CO . . . NH-CH-CO-NH-CH-CO-…OH
Ri-1
Ri
Ri+1
H+
Prefix Fragment
Suffix Fragment
Collision Induced Dissociation
H...-HN-CH-CO-NH-CH-CO-NH-CH-CO-…OH
Ri-1
Ri
Ri+1
AA residuei-1
AA residuei
AA residuei+1
N-terminus
C-terminus

## Slide 19: B ions and Y ions
http://www.molgen.mpg.de/101151/Proteomics

## Slide 20: Mass spectra searching techniques

## Slide 21: Open Database search tools
Myrimatch
X!Tandem
MSGF
OMSSA
More accurate than Mascot and sequest (Kim & Pevzner, 2014)
Commercial Software
SEQUEST (Yates et al., 1995)
MASCOT (Perkins, Pappin, Creasy, & Cottrell, 1999)

## Slide 22: Target-Decoy Search Strategy for Mass Spectrometry-Based Proteomics
incorrect “decoy” sequences added to the search space will correspond with incorrect search results that might otherwise be deemed to be correct.
Mass spectrum
Target and reversed Decoy database
Proportion of matches in decoy database represent false matches

## Slide 23: Applications
Analyzing Protein Modifications
  Finding all modifications on a single protein
  Proteome wide scanning of modifications
Protein Profiling
  Generate large scale proteome maps
  Annotate and correct genomic sequences
  Analyze protein expression as a function of cellular state
Detection of amino acid substitutions
Protein sample identification/confirmation
Protein sample purity determination

## Slide 24: Major Proteomics Repositories
Repositories
PRIDE
Other DBs
RAW
DATA
JOURNALS
GPMDB
Other DBs
UniProt
NextProt
PeptideAtlas
Proteome
Central
PASSEL

## Slide 25: Major Challenge
Large number of
unidentified spectra
May be peptides are missing in the database searched…..
Are all the reference databases complete ???

## Slide 26: Proteogenomics
Term coined in the literature in 2004.
Genomic for generating customized databases.
Identify novel peptides.
Disease biomarkes based on novel mutation
Notes: n a proteogenomic approach, genomic and transcriptomic data are used to generate customized protein sequence databases to help interpret proteomic data. In turn, the proteomic data provide protein-level validation of the gene expression data and help refine gene models. The enhanced gene models can help improve protein sequence databases for traditional proteomic analysis.

## Slide 27
Proteomics
intensity
mass/charge
Refseq
Uniprot
Searched
against
intensity
mass/charge
Non-Tumor Sample
Tumor
Sample
Proteogenomics
Tumor Specific
Protein DB
Non-Tumor Sample
Genome sequencing
Germline variants
RNA-Seq
Tumor Sample
Alternative splicing,
somatic variants, expression
intensity
mass/charge
intensity
mass/charge
Aberrant proteins
Variant proteins
Fusion proteins

## Slide 28: TYPES OF PEPTIDES IDENTIFIED IN PROTEOGENOMICS
Novel Peptides mapping on Non Coding Region
Novel Peptides mapping on Non Coding Region
5’UTR
3’UTR
Novel Junctions
Intergenic peptides
Alternating Reading Frame

## Slide 29: Methods of generation of customized databases
6 Frame Translation of
Reference Database
Perl or python scripts
Ab initio gene prediction.
Perl and python scripts
RNA-seq data
CustomProdb, Galaxy-P system, sapFinder
Whole genome Sequencing
Peppy
Other Databases
OMIM, neXtProt, Ecgene, ChimerDB, COSMIC

## Slide 30: What does proteogenomics offer?
Genomics
Proteomics
Transcriptomics
Novel Exons
Novel Junctions
Novel ORFs
Novel signal peptide
Variant peptides
Novel N termini
Novel signal peptide cleavage sites

## Slide 31
Open source Web Services

## Slide 32
Chemoinformatics and Pharmacoinformatics

## Slide 33
Molecular Interactions

## Slide 34
Biological Databases

## Slide 35
Genome Annotations

## Slide 36
Immunoinformatics or Vaccine Informatics

## Slide 37
Functional Annotation of Proteins

## Slide 38
Proteins Structure Prediction

## Slide 41: GPSR: A Resource for Genomics Proteomics and Systems Biology
A journey from simple computer programs to drug/vaccine informatics
Limitations of existing web services
  History repeats (Web to Standalone)
  Graphics vs command mode
General purpose programs
  Small programs as building unit
Integration of methods in GPSR

## Slide 42
Types of Prediction Methods

## Slide 46
Bioinformatics
ChemInformatics
VACCINE Informatics
OSDDLINUX
Live CD
Installation
Standalone
Webserver
Galaxy platform
All in ONE
Live Server
Pkg Repository
Customized operating environment for drug discovery pipeline

## Slide 47
Osddlinux desktop is ready for use.
Osddlinux installation on system hard drive
Password for sudo : osddlinux root : osddlinux

## Slide 48
Operating System for Drug Discovery